Stage 2 DBPR TTHM or HAA5 MCL Violation Notice – Template 2-19

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Total Trihalomethanes (TTHM) MCL Violation at Oceanside Water District

Our water system recently violated a drinking water standard. Although this incident was not an emergency, as our customers, you have a right to know what happened and what we did (are doing) to correct this situation.

We routinely monitor for the presence of drinking water contaminants. Testing results from May 7, 2024 show that our system exceeds the standard, or maximum contaminant level (MCL), for TTHM. The standard for TTHM is 0.08mg/L It is determined by averaging all the samples collected at each sampling location for the past 12 months. The level of TTHM averaged at one of our system’s locations for 8/2023 to 5/2024 was 0.089mg/L

What should I do?

- There is nothing you need to do. You do not need to boil your water or take other corrective actions. If a situation arises where the water is no longer safe to drink, you will be notified within 24 hours.

- If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers about drinking this water.

What does this mean?

This is not an emergency. If it had been an emergency, you would have been notified within 24 hours.

TTHM are four volatile organic chemicals which form when disinfectants react with natural organic matter in the water.

People who drink water containing trihalomethanes in excess of the MCL over many years may experience problems with their liver, kidneys, or central nervous system, and may have an increased risk of getting cancer.

What is being done?

We have increased our chemical dosages for maintenance cleans on our membranes to remove any residual organics that may be building up. We also increased our PASS-C to bind the soluble organics for removal through the membranes. We anticipate resolving the problem within the next couple weeks.

For more information, please contact David Nordman at 503-401-8740 or osidewaterdavid@gmail.com.

This notice is being sent to you by [system]. State Water System ID#: _4100585_______________.

Date distributed: __6/19/2024____________.

# Text boxes

Stage 2 DBPR TTHM Violation Notice